## Structural

Dryvit Acrylic base synthetic DPR Stucco

Trusses or conventional framing per plan

12” overhangs, per plan

Foam-sealed doors and windows

Finger joint or conventional studs

2x6 @ 16” oc studs on exterior heated walls

2x4 @ 24” oc studs on interior walls

Heavy Composition roof per plan (Varies based on elevation) *

R-23 fiberglass insulation on exterior heated walls

R-44 blown insulation in ceilings, where permitted

Pex plumbing system (or equivalent)

1-year Builder warranty

2/10-year Home Builder’s warranty

2”x6” (min) headers over exterior doors and windows

Termite prevention treatment or Treated Sole plates

2500 minimum PSI concrete/monolithic engineered foundation

9ft ceilings and or vaulted  lower level (per plan)

## General Features & Allowances

Carpet*: stain resistant with 3/8” 5.5 lb. pad, (recyclable fibers)

Nook*: Ceramic Tile, 12x12 or std. selection

Entry*: Ceramic Tile, 12x12 or std. selection

Dining Room*: Carpet (if separate or formal)

Electrical: 2 outside garage lights, Honeywell Tuxedo home prewire for  CAT5, Phone jacks, TV and camera wire

220v to dryer & range

Lighting: Standard Energy star package (per builder selection with CFL Bulbs)

Overhead lighting in secondary bedrooms

Ceiling fan in Great Room (Rough-In in Living Room, 2646, 	2807, 2396 only)

Pre-wired for ceiling fan in Master Bedroom

Highly Efficient Tankless Hot Water Heater

Garage Door: roll-up sectional steel, pre-wired for opener

Low-E Windows: vinyl Alenco®  or PlyGem

R6 or better insulated ductwork where necessary

(Varies per plan and  design)

HVAC: 15  SEER** system rating refrigerated air

Electronic ignition 95% AFUE** gas forced air heating

Reflective Roof Decking for heat reflection

Caulk & sealed sole plates

Door hardware: Better Built Set Antique Nickel knobs

Security system: Basic System & Pre-Wire for Automation

Landscaping*: front yard xeriscape or combination- with auto

drip system (set per package)

## Baths

Garden Tub & Separate Shower (Master Bath)

Cultured marble surrounds in tubs & shower

A cultured marble vanity top with two sinks (some plans)

Porcelain on steel white tubs (hall baths)

Shadow Box vanities, where indicated

Ceramic Tile, 12x12 or std. standard pattern Selection floors

Low-water-consumption, elongated commodes

Chrome towel rings and bars

2-handled brushed chrome Moen faucets

## Kitchen

Stainless steel sink

Moen chrome Faucet Single lever w/sprayer for low water use

Range: GE(  Black or white*

Microwave: GE(

Dishwasher: GE(

Disposal: 1/3 HP, builder’s choice brand

Countertops*: 2cm Giallo Fiorito Granite with square edge

Backsplash: Full tile backsplash 12x12 or std. selection

Cabinets: Ash, Raised Panel, arch-style uppers with zinc, European style hidden hinges (choice of one stain Color*)

Ceramic Tile, 12x12 or std. selection *

## Paint & Trim

Choice of Wall Paint: (Moderate White, Practical Beige,

Shadowbox) (semi-gloss in kitchen & baths)

Exterior paint: choices of builder’s color schemes

Front Door: Fiber classic with Accent Color on AR

Garage Door: Painted to match stucco color

Garage finish: sheetrock, tape, texture and paint

Interior trim: Raised panel, Masonite doors, Finger joint pine or fiberwood base and casing, Snowball White Only.

Utility room: Shadow box utility cabinet and hanging rod

IMPORTANT NOTES:  (1) On 2 Story Plans, handrails are stained same as kitchen cabinets. ½  wall trim caps in the Treviso Collection 2 stories). (2) When Optional interior exposed beams are installed, they are stained with the same stain as cabinets.

(3) Subdivision CC&Rs will dictate certain items such as fencing, roof, façade, a/c location and other requirements, which will take precedence over this addendum.

REAR YARD FENCING: Block walls along property with wing fencing connected to rear of garage location on both sides.

(2) 3’ gate which builder reserves the right to tie onto existing walls

“C” and “AR” elevation choice:  Includes these changes unless otherwise specified: Roof “positive slope” (where applicable) fall ceiling truss design. Metal canales, and when chosen optional kiva-style fireplace same as exterior. (Manufacturer’s five-year roof warranty strictly enforced)

Any deviation from the above features or allowances must be approved by the builder and processed through the original contract document or change order, subject to cut-off date.  Builder reserves the right to substitute items of like and comparable quality if necessary.

*All Casita options for electrical, appliances, cabinets, lights, or any other décor selections are specified on separate addendum.

**All items are from builder’s selection & suppliers and may vary per plan

# Text boxes

Standard Features and Allowances for Treviso Series

Name_____________________________________Job Address___________________________________Plan Number & Elevation______________

Name_____________________________________Job Address___________________________________Plan Number & Elevation______________